## Connecticut BNR facilities
Connecticut BNR Facilities
TOWN | FACILITY NAME | FACILITY LOCATION | MAILING ADDRESS |  | PHONE #s | NPDES PERMIT # | MUNI OR PRIV WPCF | CHIEF OP/ SUPERINT | TOWN LIMITS | DESIGN or PERMIT FLOW (mgd) | RECEIVING WATER | Nitrogen Removal Processes | [8 empty] | Supplemental Carbon | [5 empty] | Notes
[12 empty] | Pre-Anoxic | Aeration Basin | IFAS Media | RBC | Step feed BNR | SBR | Ox Ditches | Post-Anoxic | BNR Filter | Acetic Acid | Glycerin | Other supplemental carbon | reclaimed methanol | Flammable Liquid Capable | Methanol
Bridgeport | Bridgeport East WPCF | 695 Seaview Ave | 695 Seaview Ave | Bridgeport, CT 06607 | (203) 576-7695 | CT0100056 | M | William Robinson WPCA Manager | 30/30 85/85 | 12 | Black Rock Harbor | x | x | [13 empty] | May need to use supplemental carbon in the future. There are no immediate plans at present, however permit drivers may move both plants to use supplemental carbon by 2017.
Bridgeport | Bridgeport West WPCF | 205 Bostwick Ave | 696 Seaview Ave | Bridgeport, CT 06607 | (203) 576-7694 | CT0101010 | M | Wiliam Robinson | 30/30 85/85 | 29 | Bridgeport Harbor | x | x
Cheshire | Cheshire WPCF | 1325 Cheshire Street | 1325 Cheshire Street | Cheshire, CT 06410 | (203) 272-9105 | CT0100081 | M | Dennis Dievert | AWT see permit | 3.5 | Quinnipiac River | x | x | [6 empty] | x |  |  |  |  | x | x | Uses 100-150 gpd (45,000 gpy) of methanol (2) 8,000 gallon tanks
Cromwell | Mattabassett District WPCF | 245 Main Street | 245 Main Street | Cromwell, CT 06416-2302 | (860) 635-5550 | CT0100307 | M | Brian Armet Ex Dir | 30/30 85/85 | 30 | Connecticut River | x | x | [5 empty] | x |  |  | F |  |  | x | F | New BNR process in start up. Future use of supplemental carbon likely in mid 2015 and capable of methanol use or glycerin. 2 10,000) gallon storage tanks.
Danbury | Danbury WPCF | Newtown Road | 155 Deer Hill Ave | Danbury, CT 06810 | (203) 748-9046 | CT0100145 | M | Walter Royals | AWT see permit | 15.5 | Still River |  | x | x |  |  |  |  | x |  |  |  |  | x | x | x | Uses 600-800 gpd (250,000 gpy) of both recliamed methanol (Veolia) and virgin Methanol. 2 (8,000) gallon storage tanks.
Enfield | Enfield WPCF | 90 Parson Road | Town Hall 820 Enfield St | Enfield, CT 06092 | (860) 253-6448 | CT0100200 | M | Kevin Schlatz | N | 10 | Connecticut River | x | x | [5 empty] | x |  |  | x |  |  | x
Fairfield | Fairfield WPCF | 330 One Rod Highway | One Rod Highway | Fairfield, CT 06430 | (203) 256-3140 | CT0101044 | M | Michael Finoia | 30/30 85/85 | 9 | Long Island Sound | x | x | [5 empty] | x | x |  |  |  |  | x | x | Uses methanol at 200-300 gpd ( 90,000 gpy) (2) 4,000 gallon tanks
Hartford (MDC) | Hartford WPCF (MDC) | 240 Brainard Road | MDC PO Box 800 555 Main St | Hartford, CT 06142-0800 | (860) 278-7850 ext 3548 | CT0100251 | M | Tom Tyler | 30/30 85/85 | 80 | Connecticut River | x | x |  |  | x | [5 empty] | F |  |  | x | F | May need to use supplemental carbon in the future part of the year to meet permit. A 15,000 gallon storage tank is on site.
Manchester | Manchester Hockanum WPCF | 120 Thrall Road | Municipal Bldg 41 Center St | Manchester, CT 06040 | (860) 647-3183 | CT0100293 | M | Michael Emond | AWT see permit | 8.5 | Hockanum River | x | x | [5 empty] | x |  |  | F |  |  | x | F | New BNR process in start up. Future use of supplemental carbon likely in 2015 and capable of methanol use or glycerin. 2 (4,000) gallon storage tanks.
Meriden | Meriden WPCF | 180 Evansville Ave | Evansville Ave | Meriden, CT 06450 | (203) 630-4261 | CT0100315 | M | Francis Russo | AWT see permit | 11.6 | Quinnipiac River | x | x | [5 empty] | x | [5 empty] | x | x | Uses 200-300 gpd (90,000 gpy) of methanol. 2 (8,000) gallon storge tanks.
Milford | Milford Housatonic WPCF | 1225 Oronoque Road | WPCF 75 Deerwood Ave | Milford, CT 06460 | (203) 783-3264 | CT0101656 | M |  | 30/30 85/85 | 8 | Housatonic River | x | x | [5 empty] | x |  |  | x |  |  |  |  | Uses glycerin, 26,000 gallons per year. 2(2,200 gallon storage tanks).
New Haven | New Haven East Shore WPCF | 345 East Shore Parkway | 325 E Shore Parkway | New Haven, CT 06512 | (203) 466-5280 ext 222 | CT0100366 | M | Gary Zrelak | 30/30 85/85 | 40 | New Haven Harbor | x | x | [5 empty] | x |  |  | F |  |  | x | F | Facility presently under construction for a plant upgrade with supplemaetal carbon.Use of supplemental carbon likely in 2016 and capable of using methanol. 3(8,000 gallon) storge tanks.
Norwalk | Norwalk WPCF | 60 South Smith Street | 60 South Smith Street | East Norwalk, CT 06855 | (203) 854-3212 | CT0101249 | M | Bob Sardaro | 20/20 90/90 | 18 | Norwalk Harbor | x | x | [13 empty] | May need to use supplemental carbon in the future to meet permit conditions. No immediate plans are in place and no supplemetal carbon storge facilties exisit on site.
Norwich | Norwich WPCF | 44 Falls Avenue | PO Box 1008 | Norwich, CT 06360 | (860) 823-4157 | CT0100412 | M | John Kostyla | 30/30 85/85 | 8.5 | Thames River |  | x | [5 empty] | x |  |  | F |  |  |  |  | Future plant upgrade in 2017 will use glycerin and there will be 2(8,700 gallon) storage tanks.
Southbury | Heritage Village | 316 Heritage Road | PO Box 873 | Southbury, CT 06488 | (203) 264-8100 | CT0101133 | P | Gene Ely | CT Water | 0.78 | Pomperaug River | x | x | [5 empty] | x |  |  | x |  |  | x | x | Small facility that uses approx. 2,500 gallons per year of glycerin. Facility is capable of using methanol.
Southington | Southington WPCF | 12 Maxwell Noble Drive | 12 Maxwell Noble Drive | Plantsville, CT 06479 | (860) 628-8530 | CT0100536 | M | John DeGioia | AWT see permit | 7.4 | Quinnipiac River |  | x | [6 empty] | x |  |  |  |  | x | x | Uses 200-300 gpd (90,000 gpy) of methanol. 2 (8,000) gallon storge tanks.
Stamford | Stamford WPCF | One Harbor View Ave | 1 Harbor View Ave | Stamford, CT 06902 | (203) 977-5809 | CT0101087 | M | William Brink WPCA Ex Dir | 30/30 85/85 | 26 | Stamford Harbor | x | x | [5 empty] | x | [5 empty] | x | x | Uses 700 gpd (250,000 gpy) of methanol (2) 8,000 gallon tanks
Stratford | Stratford WPCF | 105 Beacon Point Road | WPCF 105 Beacon Point Road | Stratford, CT 06497 | (203)-385-4065 | CT0101036 | M | Peter Stallings | 30/30 85/85 | 11.5 | Housatonic River | x | x | [5 empty] | x |  |  | x |  |  |  |  | uses 40 gpd (12,000 gpy) glycerin stored in a 5,500 gallon storage tank.
Vernon | Vernon WPCF | 100 Windsorville Road | WPCF Town Hall PO Box 22 | Vernon, CT 06066 | (860) 870-3545 | CT0100609 | M |  | AWT see permit | 7.1 | Hockanum River |  | x | [13 empty] | Potential future supplemental carbon use by 2017. No facilities for handling or storage presently exisit at this facilitiy.
Wallingford | Cytec | South Cherry Street |  | Wallingford, CT 06492 | (203) 284-4210 |  | P |  |  |  | River |  | x | [10 empty] | x | x | x | Industrial treatment facilitiy that uses methanol intermittently
West Haven | West Haven WPCF | First Avenue | 2 Beach Street | West Haven, CT 06516 | (203) 937-3637 | CT0101079 | M | William Norton | 30/30 85/85 | 12.5 | New Haven Harbor | x | x | x | [7 empty] | x |  |  | x |  | Uses 200 gpd ( 70,000 gpy) glycerin MicroC . Facility is capable of using Methanol as an optional carbon use.
Waterbury | Waterbury WPCF | 210 Municipal Road | 199 Municipal Road | Waterbury, CT 06708-4377 | (203) 574-8265 | CT0100625 | M |  | 30/30 85/85 | 27 | Naugatuck River | x | x | [5 empty] | x |  |  | x |  |  |  |  | Formally used glycerin (50 gpd), currently meets permit without supplemental carbon. Storage of supplemental carbon only in totes.