## Connecticut BNR facilities
Florida BNR Facilities
TOWN | FACILITY NAME | FACILITY LOCATION | MAILING ADDRESS | PHONE #s | NPDES PERMIT # | MUNI OR PRIV WPCF | Manager | TOWN LIMITS | DESIGN or PERMIT FLOW (mgd) | RECEIVING WATER | Nitrogen Removal Processes | [9 empty] | Supplemental Carbon | [5 empty] | Notes
[11 empty] | Pre-Anoxic | Aeration Basin | IFAS Media | MBR | RBC | Step feed BNR | SBR | Ox Ditches | Post-Anoxic | BNR Filter | Acetic Acid | Glycerin | Other supplemental carbon | reclaimed methanol | Flammable Liquid Capable | Methanol
Port Orange | Port Orange WWTF | 817 Oak Street, Port Orange, Fl. 32127 | same | 386-506-5786 | FL0020559 | M | Thomas Troutman |  | 6 | Halifax River | x | x | [7 empty] | x |  |  |  | x | x | x | uses 250 gpd of reclaimed or virgin methanol with a 3 mg/l TN limit
Tampa | Hillsborough County River Oaks WWTF | 8425 Sheldon Road, Tampa, FL 33602 | same | 813-554-5035 | FL0027821 | M | Kevin Grant |  | 10 | Tampa Bay | x | x | [6 empty] | x |  |  | x |  | x | x | x | Former user of methanol 600-800 gpd that is prently using glycerin 700-900 gpd to avoid flammable liquids.
Tampa | City of Tampa Howard Curran WWTF | 2700Maritime Blvd. Tampa, FL 33605 | same | 813-247-3451 | FL0020940 | M | Eric Weiss |  | 96 | Tampa Bay | x | x | [7 empty] | x |  |  |  | x | x | x | Very large methanol user (5,000 gpd) in denitrification filters. Use both virgin methanol and reclaimed methanol.
Largo | Largo WWTF | 5100-150th Avenue North, Clearwater, FL 33760 | same | 727-518-3079 | FL0026603 | M | Gary Glascock | 30/30 85/85 | 15 | Tampa Bay | x | x | [7 empty] | x |  |  |  | x | x | x | Plant uses 400-600 gpd of virgin methanol or reclaimed methanol in denite filters.
Jacksonville | JEA Buckman WWTF | 2221 Buckman ST. Jacksonville, FL 32206 | same | 904-665-8376 | FL0026000 | M | Arthur Nettles |  | 53 | St. Johns River | x | x | [6 empty] | x |  |  | x |  |  |  |  | Uses 200-300 gallons per day of glycerin in the post anoxic zone intermittently. JEA Buckman is part of a nitrogen mass permit with other JEA WWTF's
Jacksonville | JEA Arlington WWTF | 1555 Millcoe Road, Jacksonville, FL 32225 | same | 904-665-8333 | FL0026441 | M | Mike Jones |  | 20 | St. Johns River | x | x | [6 empty] | x |  |  | x |  |  |  |  | Facility 200 gallons per day of glycerin in the post anoxic zone winter months only for 4 months . JEA Arlington is part of a nitrogen mass permit with other JEA WWTF's.
Daytona | Westside Regional WWTF | 3651 LPGA Blvd. Daytona Beach, FL 32115 | PO Box 2451, Daytona Beach, FL 32115 | 386-671-8810 | FLA111392 | M | Christopher Wall |  | 15 | Halifax River | x | [6 empty] | x | x |  |  | x |  |  |  |  | Facility uses 300-500 gpd of glycerin.
Daytona | Bethune Point WWTF | 1 Shady Place, Daytona Beach , FL 32115 | PO Box 2451, Daytona Beach, FL 32115 | 386-671-8806 | FL0025984 | M | Lynn Stevens |  | 13 | Halifax River | x | x | [6 empty] | x | x |  | x |  |  |  |  | Facility uses glycerin (100-200 gpd) in the 2nd anoxic zone for denitrification and does not use the denite filter.
Ormond Beach | Ormond Beach WWTF | 550 N. Orchard Street, Ormond Beach, FL 32174 | same | 386-676-3592 | FL0020532 | M | Sammy Butler |  | 6 | Halifax River | x | [6 empty] | x | x |  | x | x |  |  |  |  | facility uses glycerin intermittently for denitrification and is also capable of using acetic acid up to 56% concentration .
Tallahassee | Thomas P. Smith WRF | 4505B Springhill Road, Tallahassee, FL. | same | 850-891-1009 | FLA010139 | M | Joseph Cheatham |  | 26.5 | ground water seepage beds | x | x | [6 empty] | x | x |  |  |  |  | x | x | facility uses methanol (400gpd) in the down flow denitrification filter for denitrification.
Miami | Central District WWTF | 3969 Rickenbacker Causeway, Miami, FL 33133 | same | 305-665-7471 | FLA024805 | M | Robert Fergen |  | 143 | Atlantic Ocean |  | x | [14 empty] | Facility presently does not use supplemental carbon. Future permit limits may require nitrogen removal to low levels or deep well injection.
Miami | North District WWTF | 2575 NE 151 ST, Miami, FL 33133 | same | 305-665-7471 | FL0032182 | M | Robert Fergen |  | 120 | Atlantic Ocean |  | x | [14 empty] | Facility presently does not use supplemental carbon. Future permit limits may require nitrogen removal to low levels or deep well injection.
Pompano Beach Broward County | North Regional WWTP | 2401 N. Powerline Road, Pompano Beach, FL 33069 | same | 954-831-0960 | FL0031771 | M | Mark Darmanin | AWT see permit | 95 | Atlantic Ocean |  | x | [14 empty] | Facility presently does not use supplemental carbon. Future permit limits may require nitrogen removal to low levels or deep well injection.
Hollywood | Hollywood Southern Reg. WWTF | 1621 14th Ave. Hollywood, FL | same |  | FL0026255 | M |  |  | 56 | Atlantic Ocean |  | x | [14 empty] | Facility presently does not use supplemental carbon. Future permit limits may require nitrogen removal to low levels or deep well injection.
St. Petersburg | South Cross Bayou WRF | 54th Ave. North St., St Petersburg, FL | same | 727-582-2304 | FL0040436 | M | Robert Powell |  | 33 | Tampa Bay | x | x | [7 empty] | x |  |  |  | x | x | x | Facility uses combination of 500-700 gpd of methanol and reclaimed methanol in denite filters.
Delray Beach | South Central Reg. WWTF | 1801 N. Congress Ave. Delray Beach, FL 33445 | same | 561-742-6401 | FL0035980 | M | Colin Groff |  | 24 | Atlantic Ocean |  | x | [14 empty] | Facility presently does not use supplemental carbon. Future permit limits may require nitrogen removal to low levels or deep well injection.
Lake Buena Vista | Reedy Creek WRF | 2151 Bear Island Road, Lake Buena Vista, FL 32830 | same | 407-824-7447 | FLA108219 | P | Anthony Kasper |  | 20 | Infiltration Beds and reuse | x | x | [6 empty] | x | x |  |  |  |  | x | x | Facility had deep bed denite filters that are capable of using methanol.
Altamonte Springs | Altamonte Springs | 950 Keller Rd. Altamonte Springs, 32701 | same | 407571-8686 | FL0033251 | M | Andrew Hauck | 30/30 85/85 | 12.5 | Reuse and St Johns River | x | x | [7 empty] | x |  |  |  |  | x |  | Facility has denit filters with methanol capability. The facility is discharging 100% reuse and does not presently need to use the filters for nitrogen removal.
Clearwater | Clearwater Northeast | 3290 State Route 580, Clearwater, FL 33765 | same | 727-562-4960 | FL0128937 | M | Tracy Mercer |  | 13.5 | Tampa Bay | x | x | [6 empty] | x |  |  | x | x |  |  |  | Facility uses glycerin or a waste sugar product intermittently in rainy season.
Orlando | Orange County Eastern WRF | 1621 S. Alafaya Trail, Orlando 32828 | same | 407-254-9685 | FL0038849 | M | Larry Tunnell |  | 11.5 | wetlands | x | x | [5 empty] | x | x |  | x | x |  |  |  |  | Facility does not presently use supplemental carbon but anticipates use in the future if the reuse and wetlands nitrogen limits are lowered.
Clearwater | Clearwater East | 3141 Gulf to Bay Blvd. Clearwater, FL | same | 727-562-4960 | Fl00218565 | M | Tracy Mercer | 30/30 85/85 | 4.3 | Tampa Bay | x | [6 empty] | x | x |  |  |  | x |  |  |  | Facility uses a waste sugar product intermittently as needed.
Pensacola | Bayou Marcus WRF , Emerald Coast Utilities Authority | 3050 Fayal Drive, Pensacola, FL 32533 | Emerald Coast Utilities, 2980 Old Chemstrand Road, Cantonment, FL 32533 | 850-455-3337 | FL0031801 | M | Sony Bonds |  | 8.2 | wetlands | x | x | [6 empty] | x |  |  | x |  |  |  |  | Uses 50-100 gallons per day of glycerin applied to the 2nd anoxic zone.
Winter Haven | Wastewater Treatment Plant #3 | 4400 Pollard Rd. Winter Haven, FL 33880 | same | 863-291-5763 | FL0036048 | M | Terry Carver |  | 7.5 | wetlands/reuse | x | x | [6 empty] | x |  | x | x |  |  |  |  | Uses 75-100 gallons per day of glycerin applied to the 2nd anoxic zone.
Ruskin | Hillsborough County South County AWWTP | 502 Teco Road, Ruskin, FL 33570 | same | 813-671-7693 | FL0028061 | M |  |  | 4.5 | Tampa Bay | x | [6 empty] | x | x |  |  | x |  |  |  |  | Newly upgraded facility with the capability of adding glycerin to the 2nd anoxic zone. It is only anticipated to be needed intermittently.
New Smyrna Beach | New Smyrna Beach WRF | 3119 State Route 44, New Smyrna Beach, FL 32107 | same | 386-424-3180 | FL0172090 | M | David Hoover | AWT see permit | 7 | St. Johns River | x | [6 empty] | x | x | x |  |  | x |  | x | x | Facility has capability to use methanol or other carbon sources fed to the 2nd anoxic zone of effluent filters. Supplemental carbon is only used intermittently.
Cocoa Beach | Cocoa Beach WRF | 1600 Minuteman Causeway, Cocoa Beach, FL 32931 | same | 321-868-3243 | FL0021105 | M | Darby Blanchard |  | 6 | Banana River/reuse | x | [6 empty] | x | x |  | x | x |  |  |  |  | Facility has capability of using glycerin or acetic acid and dos not presently need to use supplemental carbon.
Dunedin | Dunedin AWWTF | 1140 Martin Luther King, Jr. Ave. Dunedin, FL 34697 | same | 727-298-3003 | FL0021326 | M | Paul Stanek | 30/30 85/85 | 6 | Clearwater Harbor | x | x | [7 empty] | x |  |  |  | x | x | x | Facility uses 100-250 gpd of virgin or reclaimed methanol in deit filters.
Palmetto | Palmetto WWTF | 1310 28th Ave, Palmetto, FL 34221 | same | 941-723-4580 | FL0020401 | M | Allen Tusing |  | 2.4 | Tampa Bay | x | [6 empty] | x | x | x |  |  |  |  | x | x | Facility uses methanol intermittently for denitrification.
Oldsmar | Oldsmar AWWTF | 351 Lafayette Blvd. Oldsmar, FL 34677 | same | 813-749-1134 | FL0027651 | M | Lisa Rhea |  | 2.25 | fresh water pond | x | [6 empty] | x | x | x |  |  |  |  | x | x | Facility uses methanol intermittently for denitrification.
Live Oak/Pilgrim's Pride | Pilgrim's Pride Live Oak Poultry Processing Plant | 19470 US Hwy 90 West, Live Oak, FL 32064 | same | 386-362-2544 | FL0001465 | I | Marc McCann |  | 1.5 | Suwannee River | x | x | [12 empty] | x | x | Facility uses 150-200 gallons per day of methanol in their denit filter.
Hurlburt Field | Hurlburt Field AWTP | 301 Heritage Road Hurlburt Field, FL 32544 | same | 850-884-7702 | FL0003174 | M | Jason Loschinsky |  | 1 | ground water seepage beds | x | x | [6 empty] | x |  |  | x |  |  |  |  | Uses 50 gallons per day of glycerin applied to the 2nd anoxic zone.
Crestview | Bob Sikes WRF | 5581 Fairchild Rd. Crestview, FL 32547 | same |  | FLA010181 | M | Jeff Littrell |  | 1 | ground water seepage beds | x |  |  | x | [6 empty] | x | x |  |  |  |  | Facility uses 20 gpd of glycerin
Neptune Beach | Neptune Beach WWTF | 2010 Forest Ave. Neptune Beach, FL 32266 | same | 904-270-2422 | FL0020427 | M | Mark Greenwood |  | 1.5 | St. Johns River basin | x | x | [6 empty] | x |  |  | x |  |  |  |  | Facility uses 20-25 gpd of glycerin
Pensacola | Pensacola Beach WWTF | 55 Via Deluna Drive, Pensacola Beach, FL | Emerald Coast Utilities, 2980 Old Chemstrand Road, Cantonment, FL 32533 | 850-969-6637 | FL0024007 | M | Donald Palmer |  | 2.4 | Pensacola Beach Harbor | x | x | [7 empty] | x |  |  |  |  | x | x | Facility uses 50-75 gallons per day of methanol in the denite filter.
Jacksonville | Blacksford JEA WWTF | 1310 Roberts Road, Jacksonville, FL | JEA 10828 Hampton Road, Jacksonville, FL 32357 | 904-6654793 | FL0174441 | M | Robert Parks |  | 2 | Wetland | [6 empty] | x |  |  |  | x | x |  |  |  |  | Facility uses 100 gpd of virgin of glycerin.
Niceville | NVOC Regional WWTF | 507 Hwy 85 N, Niceville, FL 32578 | same | 850-678-6613 | FLA010185 | M | Rick Helms |  | 3.3 | Ponds and spray fields | x | x | x | [8 empty] | x |  |  |  |  | Facility has glycerin storage onsite however does not need to use any supplemental at this time.
Fort Meyers | Fiesta Village AWTP | 1366 San Souci Dr. Fort Meyers, FL 33919 | same | 239-533-8181 | FL0039829 | M | Pamela Keyes |  | 5 | Caloosahatchee River | x | [6 empty] | x | x | x |  |  |  |  | x | x | Facility uses methanol in the denite filter
Key Largo | Key Largo WWTP | 100301 Overseas Hwy. Key Largo, FL 33037 | same | 305-451-4019 | FLA370967 | M | Paul Christian |  | 3.5 | Recharge wells | [6 empty] | x |  |  |  | x | x |  |  |  |  | facility has the capability to add glycerin to the SBR process on an as needed intermittent basis.