## Connecticut BNR facilities
New Hampshire BNR Facilities
TOWN | FACILITY NAME | FACILITY LOCATION | MAILING ADDRESS | PHONE #s | NPDES PERMIT # | MUNI OR PRIV WPCF | CHIEF OP/ SUPERINT | TOWN LIMITS | DESIGN or PERMIT FLOW (mgd) | RECEIVING WATER | Nitrogen Removal Processes | [9 empty] | Supplemental Carbon | [5 empty] | Notes
[11 empty] | Pre-Anoxic | Aerated/Anoxic lagoon | Aeration Basin | IFAS Media | RBC | Step feed BNR | SBR | Ox Ditches | Post-Anoxic | BNR Filter | Acetic Acid | Glycerin | Other supplemental carbon | reclaimed methanol | Flammable Liquid Capable | Methanol
Dover | Dover WWTF | 484 Middle Road, Dover NH, 03820 | same as facility address | 603-516-6475 | NH0101311 | M |  | 30/30 85/85 | 4.7 | Piscataque River |  |  | x | [13 empty] | Facility has a future total nitrogen limit of 3 mg/l seasonally (April-October). Facility is in planning phase to evaluate alternatives to acieve the low nitrogen limit.
Durham | Durham WWTF | 50 Piscataque Road, Durham, NH 03824 | same as ficility address | 603-868-2274 | NH100455 | M | Daniel Peterson | AWT see permit | 2.5 | Oyster River |  |  | x | [13 empty] | The facility presently does not have a total nitrogen limit. It is anticipated that a total nitrogen limit will be included in the next NPDES permit renewal that could be as low as 3 mg/l.
Exeter | Exeter WWTP | 13 New fields Road, Exter, NH, 03833 | same as facility address | 603-773-6168 | NH0100871 | M |  | 30/30 85/85 | 3 | Squamscott River |  | x | [14 empty] | Facility has a future total nitrogen limit of 3 mg/ and a 75 pound/day mass limit seasonally (April-October). Facility is in planning phase to evaluate alternatives to acieve the low nitrogen limit. A consent order requires a new facility be operation to meet the 3 mg/l total nitrogen limit by 2018.
Newmarket | Newmarket WWTF | 8 Young Lane. NH, 03857 02905 | Same as facility address | 603-659-3093 | NH0100196 | M | Sean Grieg | AWT see permit | 0.85 | Lamprey River |  |  | x | [13 empty] | Facility has a future total nitrogen limit of 3 mg/l seasonally (April-October). Facility is in planning phase to evaluate alternatives to acieve the low nitrogen limit.
Portsmouth | Peirce Island WWTF | Peirce Island, Portsmouth, NH, 03801 | Portsmouth DPW 680 Peverly Hill Rd. Portsmouth, NH 03801 | 603-427-1530 | NH0100234 | M | Paula Anania | N | 6.1 | Piscataqua, River | [9 empty] | x |  | x |  |  |  |  | Facity is in design for a Kruger Veolia Bio Styr upflow denitrification filter. The process will require a supplemantal carbon source but city does not want to use flamable liquids due to the location of the treatment plant within the city.