## Connecticut BNR facilities
New York BNR Facilities
TOWN | FACILITY NAME | FACILITY LOCATION | MAILING ADDRESS | PHONE #s | NPDES PERMIT # | MUNI OR PRIV WPCF | CHIEF OP/ SUPERINT | TOWN LIMITS | DESIGN or PERMIT FLOW (mgd) | RECEIVING WATER | Nitrogen Removal Processes | [8 empty] | Supplemental Carbon | [5 empty] | Notes
[11 empty] | Pre-Anoxic | Aeration Basin | IFAS Media | RBC | Step feed BNR | SBR | Ox Ditches | Post-Anoxic | BNR Filter | Acetic Acid | Glycerin | Other supplemental carbon | reclaimed methanol | Flammable Liquid Capable | Methanol
Binghamton /Johnson | Binghamton Johnson Joint STP | 4488 Old Vestal Road, Vestal, NY13850 | Same | 607-729-2975 | NY00248414 | M | Cathy Young | 30/30 85/85 | 60 | Susquehana River |  | x | [6 empty] | x |  |  |  |  | x |  | Upgrade under construction and will be operational in 2017
New York City | Bowery Bay | 43-01 Berrian Blvd, Astoria, NY 11105 | 59-12 Junction Blvd, Corona, NY 11368 | 718-595-5972 718-595-4295 | NY0026158 | M | Keith Mahoney or Allen Deur | AWT see permit | 150 | East River, Long Island Sound |  |  |  |  | x | [5 empty] | x |  |  |  |  | Large NYC facility to be fully operational by 2017 and will use up to 3,000-5,000 gpd of 70% glycerol solution.
New York City | Hunt Point | Coster Street, Bronx, NY 10474 | 59-12 Junction Blvd, Corona, NY 1136 | 718-595-5972 718-595-4295 | NY0026191 | M | Keith Mahoney or Allen Deur | 30/30 85/85 | 200 | East River, Long Island Sound |  |  |  |  | x | [5 empty] | x |  |  |  |  | Large NYC facility fully operational October 2014 using up to 4,000-6,000 gpd of 70% glycerol solution.
New York City | Jamaica | 150-20 134 Street, Jamaica, NY 11430 | 59-12 Junction Blvd, Corona, NY 1136 | 718-595-5972 718-595-4295 | NY0026115 | M | Keith Mahoney or Allen Deur | AWT see permit | 100 | Jamaica Bay |  |  |  |  | x | [5 empty] | x |  |  |  |  | Large NYC facility to be fully operational by 2016 and will use up to 1,500- 2,000 gpd of 70% glycerol solution.
New York City | Tallman Island | 127-01 Powells CoveBlvd College Point, NY 11356 | 59-12 Junction Blvd, Corona, NY 1136 | 718-595-5972 718-595-4295 | NY0026239 | M | Keith Mahoney or Allen Deur | 30/30 85/85 | 80 | East River/Long Island Sound |  |  |  |  | x | [5 empty] | x |  |  |  |  | Large NYC facility to be fully operational by 2017 and will use up to 1,500- 2,000 gpd of 70% glycerol solution.
New York City | 26th Ward STP | 122-66 Flatlands Ave. Brooklyn, NY 11207 | 59-12 Junction Blvd, Corona, NY 1136 | 718-595-5972 718-595-4295 | NY0026212 | M | Keith Mahoney or Allen Deur | 30/30 85/85 | 85 | Jamaica Bay | [10 empty] | x |  |  |  |  | Large NYC facility to be fully operational by 2017 presently uses up to 1,000 gpd of 70% glycerol solution for centrate treatment. By 2017 entire facility will be operational and use up to 2,200 gpd of 70% glycerol solution.
New York City | Wards Island | Wards Island, NY 10035 | 59-12 Junction Blvd, Corona, NY 1136 | 718-595-5972 718-595-4295 | NY0026131 | M | Keith Mahoney or Allen Deur | AWT see permit | 275 | East River / Long Island Sound |  |  |  |  | x | [5 empty] | x |  |  |  |  | Large NYC facility to be fully operational by 2017 presently uses up to 2,000 gpd of 70% glycerol solution for centrate treatment. By 2017 entire facility will be operational and use up to 5,000-7,000 gpd of 70% glycerol solution.
Westchester | Mamaroneck STP | West Boston Post Road, Mamaroneck, NY 10543 | Westchester County Dept of Environmental Facilities, 270 North Ave, 6th floor, New Rochelle, NY 10801 | 914-813-5412 | NY0026701 | M | Michael Coley | AWT see permit | 20.6 | Long Island Sound |  | x | x |  |  |  |  | x | [5 empty] | x | x | Uses 1,200-1600 gpd of 25% methanol solution
Westchester | New Rochelle STP | 1 LeFevre Lane, New Rochelle, NY 10801 | Westchester County Dept of Environmental Facilities, 270 North Ave, 6th floor, New Rochelle, NY 10801 | 914-813-5412 | NY0026697 | M | Michael Coley | 30/30 85/85 | 13.6 | Long Island Sound |  | x | [6 empty] | x |  |  |  |  | x | x | New Biological Anoxic Filter process facility presently in start up and using 20% methanol solution.