## Arkansas BNR facilities
Oklahoma BNR Facilities
TOWN | FACILITY NAME | FACILITY LOCATION | MAILING ADDRESS | PHONE #s | NPDES PERMIT # | MUNI OR PRIV WPCF | CHIEF OP/ SUPERINT | TOWN LIMITS | DESIGN or PERMIT FLOW (mgd) | RECEIVING WATER | Nitrogen Removal Processes | [8 empty] | Supplemental Carbon | [5 empty] | Notes
[11 empty] | Pre-Anoxic | Aeration Basin | IFAS Media | RBC | Step feed BNR | SBR | Ox Ditches | Post-Anoxic | BNR Filter | Acetic Acid | Glycerin | Other supplemental carbon | reclaimed methanol | Flammable Liquid Capable | Methanol
Guymon, Seaboard Foods | Seabord Foods | 2700 N.E. 28th Street, Guymon, OK 73942 | same | 580-338-5410 | OKP003020 | I |  | N | <1 | ground water permit | x | x | [8 empty] | x | x |  |  |  | Facility uses 600-800 gallons/day of glycerin from a biodiesel plant near the facility.
Tyson Foods, Browken Bow | Tyson Foods, Browken Bow | Tyson Foods High Way 70, Broken Bow, OK 74728 | PO Box 220 Broken Bow, OK 74718 | 580-584-9191 | OK000795 | I | Bobby Proctor |  | 2 | Little River | x | x | [8 empty] | x | x |  |  |  | facility uses 700 gpd of glycerin from EOS MicroC. The facility has used other carbon sources such as surgar water. The treatment plant manager is interested in using methanol if the savings are enough to cover the cost of installing a methanol storage and feed system as the existing system is only capable of using non flamable carbon sources.