## Connecticut BNR facilities
Pennsylvania BNR Facilities
TOWN | FACILITY NAME | FACILITY LOCATION | MAILING ADDRESS | PHONE #s | NPDES PERMIT # | MUNI OR PRIV WPCF | Manager | TOWN LIMITS | DESIGN or PERMIT FLOW (mgd) | RECEIVING WATER | Nitrogen Removal Processes | [9 empty] | Supplemental Carbon | [5 empty] | Notes
[11 empty] | Pre-Anoxic | Aeration Basin | IFAS Media | MBR | RBC | Step feed BNR | SBR | Ox Ditches | Post-Anoxic | BNR Filter | Acetic Acid | Glycerin | Other supplemental carbon | reclaimed methanol | Flammable Liquid Capable | Methanol
Abbington | Abbington Regional Wastwater Authority | 200 Nothern Blvd. Chinchilla, PA 18410 | P.O. Box 199, Chinchilla, PA 18410 | 570-587-2830 | PA0028576 | M | Donald Snyder |  | 3.3 | Susquehanna River | x | x | [6 empty] | x | [5 empty] | F | F | Additional supplemental carbon facilities being added as a process upgrade.
Altoona | Altoona Easterly WWTF | RR1 Box 925, Duncanville, PA 16635 | 900 Chestnut Ave., Altoona, PA 11601 | 814-949-2222 | PA0027014 | M | Mark Perry | 30/30 85/85 | 8 | Upper Juniata River | x | x | [6 empty] | x | x |  |  |  |  | x | x | Facility has methanol capability however, they are not using it at this time.
Altoona | Altoona Westerly WWTF | 144 Westerly Treatment Plant Rd. Duncansville, PA 16635 | 900 Chestnut Ave., Altoona, PA 11601 | 814-949-2246 | PA0027022 | M | George Boliski |  | 10.8 | Upper Juniata River | x | x | [7 empty] | x |  |  |  |  | x | x | Facility has methanol capability however, they are not using it at this time.
Bellefonte | Bellefonte WWTF | 236 Lamb St. Bellefonte, PA 16823 | Same | 814-355-1501 | PA 0020486 | M | Robert Cook |  | 3.2 | Spring Creek | x | x | [7 empty] | x |  | x |  |  |  |  | Facility uses glycerin in a Blue Water dnite filter not capable of using flamable liquids
Cargil Beef | Carrgil Wyalusing | Route 706 Wyalusing, PA 18853 |  | 570-746-3000 | PA0111759 | I | Henry Lee |  | 0.6 | Upper Susquehana | x | x | [9 empty] | x |  |  |  |  | Beef processing plant uses glycerin feed to anaoxic zone on a continous basis.
Chambersburg | Chambersburg WWTF | 725 Holly Ave. Chambersburg, PA 17201 | Same | 717-709-2285 | PA0026051 | M | Lance Anderson |  | 6.8 | Conococheague | x | x | [6 empty] | x |  |  | F |  |  | F | F | Not presetly using supplemental carbon, howerver plant under construction with supplemental carbon use capability.
Clearfield | Clearfield WWTF | Beauty Road, Clearfield, PA 16830 | 107 East market St. Clearfield, PA 16830 | 814-765-1501 | PA0026310 | M | Michael Hoover |  | 4.5 | Upper Susquehana | x | x | [14 empty] | New process under construction 5 stage BNR , may need supplemental carbon after project completion.
Enola | East Pennsboro STP | 21 Dulles Drive, Camp Hill, PA 17011 | Same | 717-732-0711 | PA0038415 | M | Rober Gill |  | 3.7 | Lower Susquehana | x | x | [6 empty] | x |  |  | x |  |  |  |  | Does not use supplemental carbon at this time but plans to pilot glycerin
Ephrata | Ephrata STP | 405 S. Reading Road, Ephrata, PA 17522 | Same | 717-738-9282 | PA0027405 | M | Gary Nace |  | 4.3 | Lower Susquehana | x | [6 empty] | x |  |  |  |  | x |  |  |  | Uses a waste sugar water solution
Hampden | Roth Lane STP | 4200 Roth Lane, Mechanicsburg, PA 17055 | same | 717-761-0119 | PA0080314 | M | Steven Campbell | 30/30 85/85 | 5.7 | Susquehanna River | x | x | [6 empty] | x | x |  |  |  |  | x | x
Hanover | Hanover Boro WWTF | 300 O'Brien Lane, McSherrystown, PA 17344 | 44 Fredrick St. Hanover, PA 17331 | 717-637-3877 | PA0026875 | M | Barbara Krebs |  | 4.5 | Susquehanna River | x | x | [7 empty] | x |  |  |  |  | x | x | Has methanol capability but is not using methanol presently
Harrisburg | Harrisburg WWTF Captial Region | 1162 South Cameron St. Harrisburg, PA 17104 | Same | 717-939-7270 | PA0027197 | M | Jeff Rosentel |  | 15 | Lower Susquehana | x | x | [7 empty] | x |  |  |  |  | x | x | Major upgrade in construction with methanol facilities. Facility is interested in mehtanol safety training and training materials.
Harrisburg | Swatara Township WWTF | 8675 Paxton Street, Harrisburg, PA 17111 | Same | 717-566-3361 | PA0026735 | N | William Jones |  | 6.3 | Susquehanna River | x | x | [6 empty] | x | [5 empty] | x | x | Facility is not presently using the methanol system
Hazelton | Greater Hazelton WWTP | Valmont Industrial Park, Hazelton, PA 18201 | PO Box 651 Hazelton, PA 18201 | 570-454-0851 | PA0026921 | M | Chris Carcia |  | 9 | Upper Susquehana | x | x | [7 empty] | x |  |  |  |  | x | x | Uses 250-300 gpd of methanol in denite filter
Huntingdon | Huntingdon Boro STP | 530 Washington St, Huntingdon, PA 16652 | Same | 814-643-5123 | PA0026191 | M | Oak Coffman |  | 3.75 | Upper Juniata River | x | x | [7 empty] | x |  |  |  |  | x | x | uses 100 gpd methanol
Lancaster | Lancaster City | 1120 New Danville Pike, Lancaster, PA 17603 | Same | 717-293-5531 | PA0026743 | M | Christine Hildith |  | 32 | Lower Susquehana | x | x | [6 empty] | x | [5 empty] | F | F | Does not use supplemental carbon at this time, however the facility is in planning for a process upgrade with supplemental carbon capability.
Lebanon | Lebanon WWTF | 250 Dairy Road, Lebanon, PA 17042 | 2321 Ridgeview Road, Lebanon, PA 17042 | 717-272-2841 | PA0027316 | M | Frank Discuillo | 30/30 85/85 | 8 | Quittapahilla Creek | x | x | [7 empty] | x |  |  |  |  | x | x | Presently uses 150-300 gpd of methanol
Lemoyne | Lemoyne Boro STP | 3 Lowther st. Lemoyne, PA 17043 | Same | 717-763-7575 | PA0026441 | M | John O'Neill |  | 2.1 | Lower Susquehana | x | x | [6 empty] | x
Lewisburg | Lewisburg JT Authority | River Road, Lewisburg, PA 17837 | P.O. Box 305, Lewisburg, PA 17837 | 570-524-7069 | PA0044661 | M | Billy Drasher |  | 2.4 | Lower Susquehana | x | x | [6 empty] | x | x |  |  |  |  | x | x
Lewiston | Lewiston STP | Washington Ave., Lewiston, PA 17044 | Same | 717-248-1361 | PA0026280 | M | John White |  | 2.8 | Lower Juniata | x | x | [6 empty] | x |  |  | x |  |  |  |  | Can use glycerin, howerver no supplemental carbon is needed at this time.
Mechanicsburg | Mechanicsburg WWTF | 842 West Church Road, Mechanicsburg, PA 17055 | same | 717-691-3320 | PA0020885 | M | Ronald Adams | AWT see permit | 2.1 | Susquehanna River | x | x | [6 empty] | x
Middletown | Middletown Boro STP | Lawrence Street, Middletown, PA 17057 | Same | 717-948-3040 | PA0020664 | M | Christopher Burkholder |  | 2.2 | Lower Susquehana | x | x | [6 empty] | x
Morgantown Landfill | New Morgantown Landfill | 420 Quarry Road, Morgantown, PA |  | 610-286-7876 | PA0055328 | I | Gene Bonner | [6 empty] | x | [10 empty] | x | x | Landfill leachete treatment plant that uses approx. 1,000 gallons per month of methanol
Mount Joy | Mount Joy STP | 21 East Main Street, Mount Joy, PA 17552 | PO Box Mount Joy, PA 17552 | 717-653-2300 | PA0021067 | M | John Leaman |  | 1.3 | Lower Susquehana | x | x
Mountain Top | Mountain Top Area JT Sewer Authority | 290 Morio Drive, Mountain Top, PA 18707 | same | 570-678-7411 | PA-0045985 | M | Thomas Keiper |  | 4.5 | Big Wapwallopen Creek | x | x | [6 empty] | x | [5 empty] | x | x | Has methanol capability but is not using methanol presently
New Oxford | New Oxford Municipal WWTP | 106 Tracy Ave. New Oxford, PA 17350 | Same | 717-624-9399 | PA 0020923 | M | Earl Mummert |  | 2.7 | Lower Susquehana | x | x | [6 empty] | x
Scranton | Scranton Sewer Authority | Cedar Ave, Scranton, PA 18503 | 312 Adams Ave, Scranton, PA 18503 | 570-348-5330 | PA0026492 | M | Eugene Barrett |  | 20 | Susquehanna River | x | x | [6 empty] | x |  |  | x |  |  |  |  | Presently full scale testing with glycerin
Shamokin | Shamokin-Coal JT treatment facility | PA Route 61, Shamokin, PA 17872 | Same | 570-648-1262 | PA0027324 | M | Paul Petrovich |  | 7 | Lower Susquehana | x | x | [14 empty] | Facility under construction with a process upgrade that will include supplemental caerbon facilities.
State College | University Joint Area WWTF | 1576 Spring Valley Road, State College, PA 16801 | same | 814-238-5361 | PA0026239 | M | David Smith | AWT see permit | 5 | Spring Creek | x | x | [9 empty] | x |  |  |  |  | Uses glycerin for 8-9 months of the year at 400 gallons per day
Sunbury | Sunbury Muncipal Sewer Authority | 462 South 4th St, Sunbury, PA 17801 | Same | 570-988-1930 | PA0026557 | M | Michael Kerstetter |  | 4.2 | Lower Susquehana | x | x | [6 empty] | x |  |  | x |  |  |  |  | Uses glycerin in the summer months
Tyson Foods | Tyson New Holland Chicken Processing Plant | 403 South Custer Ave. New Holland, PA |  | 717-355-5437 | PA0035092 | I | Julie Bard-Ziegler |  | 1.5 | Mill Creek | x
Williamsport | Williamsport West WWTF | 26 Arch Street, Williamsport, PA 17701 | Same | 570-323-6140 | PA0027049 | M | Walter Nicholson | 30/30 85/85 | 5 | Susquehanna River | x | x | [7 empty] | x |  |  |  |  | x | x | Uses methanol in denit filter intermittently
Williamsport | Williamsport Central WWTF | 601 East Jefferson Lane, Williamsport, PA 17701 | Same | 570-323-6140 | PA0027057 | M | Walter Nicholson | AWT see permit | 10.5 | Susquehanna River | x | x | [7 empty] | x |  |  |  |  | x | x | Uses methanol in denit filter intermittently
York | York City STP | 1701 Black Bridge Road, York, PA 17402 | Same | 717-845-2794 | PA 0026263 | M | Hildago Diaz |  | 19 | Lower Susquehana | x | x | [6 empty] | x | [7 empty] | use glycerin very intermittently (less than one month per year)
30/30 85/85